# Report 1: HRD Score Calculation Methodologies (Panel, WES, WGS)

Key Clinical Indications: HRD testing is primarily indicated for Ovarian Cancer (predicting PARP inhibitor response, e.g., Olaparib, Niraparib). It is also increasingly used in Breast Cancer (TNBC), Prostate Cancer (Metastatic Castration-Resistant), and Pancreatic Cancer, where homologous recombination defects are common.

What Happens in the Genome? (The Mechanism of HRD) When the Homologous Recombination (HR) pathway is broken (e.g., due to BRCA1/2 loss), the cell cannot accurately repair Double-Strand Breaks (DSBs). * The Consequence: The cell is forced to use “backup” repair pathways like NHEJ (Non-Homologous End Joining) or MMEJ (Microhomology-Mediated End Joining). * The Result: These backup pathways are “sloppy” and error-prone. They randomly paste DNA ends together, leading to massive structural errors: 1. Deletions/Duplications: Chunks of DNA are lost or copied. 2. Translocations: Chromosomes break and fuse with the wrong partners. 3. Genomic Scars: These errors accumulate over time, leaving specific patterns (LOH, TAI, LST) that we can measure as the “HRD Score.”

This report details how Homologous Recombination Deficiency (HRD) scores are calculated across different sequencing platforms, their specific limitations, and the standard cutoffs used for clinical interpretation.

## 1. HRD Score Calculation Methodologies

The HRD score is typically a composite metric derived from three specific types of “genomic scars” that accumulate when the homologous recombination repair pathway is defective.

HRD Score=LOH+TAI+LST

| Metric | Definition | Calculation Criteria |
| --- | --- | --- |
| LOH (Loss of Heterozygosity) | Regions where one parental allele is missing. | Count of LOH regions >15 Mb but shorter than the whole chromosome. |
| TAI (Telomeric Allelic Imbalance) | Imbalance in gene copies at chromosome ends. | Count of regions with allelic imbalance extending to the sub-telomere, excluding those covering the centromere. |
| LST (Large-scale State Transitions) | Drastic switches in DNA structure between adjacent regions. | Count of chromosomal breakpoints between adjacent regions of at least 10 Mb (after filtering small regions <3 Mb). |

### Platform-Specific Approaches

#### A. Targeted Panels (CGP)

- Method: Relies on a “SNP Backbone”. Since panels only sequence specific genes (e.g., 500 cancer genes), they must be custom-designed with thousands of extra SNP probes spread evenly across the genome (e.g., 20,000 - 54,000 SNPs).

- Process:

  - Backbone SNPs: Measure Allele Frequency at these discrete points.

  - Segmentation: Algorithms “connect the dots” between SNPs to infer continuous blocks of LOH, TAI, or LST.

  - Scoring: Counts are derived from these inferred segments.

[!NOTE] Toy Examples: How SNPs Infer Genomic Scars (The “Connecting the Dots” Logic)

1. LOH (Loss of Heterozygosity) * Logic: A long string of “Homozygous” SNPs (all A or all B) implies the other parent’s copy is lost. * Example: * ...SNP(AB)...SNP(AB)...[SNP(AA)...SNP(AA)...SNP(AA)]...SNP(AB)... * Inference: The bracketed region is an LOH block. If length >15 Mb → Score +1.

2. TAI (Telomeric Allelic Imbalance) * Logic: The balance of alleles is off (e.g., 2 copies of Mom, 1 of Dad), and this imbalance extends all the way to the end of the chromosome. * Example: * Centromere...[Balanced Region (1:1)]...[Imbalanced Region (2:1)]...Telomere End * Inference: If that “Imbalanced Region” touches the telomere and does not cross the centromere → Score +1.

3. LST (Large-scale State Transitions) * Logic: A massive “jump” or break in the DNA structure between two large adjacent segments. * Example: * [Segment A (Copy Neutral, 12Mb)] —-> [Segment B (Deleted, 15Mb)] * Inference: The “jump” from State A to State B is a breakpoint. Since both neighbors are >10Mb, this breakpoint counts as a scar → Score +1.

Myriad Scoring Calculation Myriad simply adds these integer counts together.

Final Score=(#LOH events)+(#TAI events)+(#LST events)

* Example Patient: 14 LOH + 10 TAI + 20 LST = 44. * Result: Positive (since 44≥42).

- Example Assays: Myriad myChoice CDx, FoundationFocus CDxBRCA (LOH only), Illumina TruSight Oncology 500 (TSO500), AmoyDx HRD Complete.

#### B. Whole Exome Sequencing (WES)

- Method: Sequences all protein-coding regions (exons), covering ~1-2% of the genome.

- Process: Uses off-target reads (reads that accidentally map to non-coding regions) and exon SNP data to estimate copy number variations (CNV).

- Algorithm: Tools like scarHRD or HRProfiler are used to analyze segmented CNV data derived from WES.

[!NOTE] Toy Example: WES Off-Target “Binning” (Turning Junk into Data)

- The “Junk” Reads: You target “Exon A” and “Exon B”. But the sequencer also accidentally reads the empty DNA space in between them.

- Binning: The computer divides the entire genome into virtual buckets (bins) of fixed size (e.g., every 50kb).

- Counting Reads: It counts how many “junk” reads fell into each bucket.

  - Bin 1 (Normal): 100 reads. (Expected for 2 copies)

  - Bin 2 (Normal): 98 reads.

  - Bin 3 (Deletion): 52 reads. → Looks like 1 Copy Lost!

  - Bin 4 (Amplification): 205 reads. → Looks like Duplication!

- Connecting to HRD:

  - If Bins 100 through 500 (spanning 20Mb) all show “~50 reads” (Deletion), the algorithm calls this a 20Mb Deletion Segment.

  - Since 20Mb > 15Mb, this counts as an LOH Event (+1 to HRD Score).

#### C. Whole Genome Sequencing (WGS)

- Method: Sequences the entire genome (coding and non-coding), providing a continuous view without gaps.

- Process: Directly detects structural variants and copy number changes with high resolution.

- Algorithm:

  - Standard: Calculates LOH+TAI+LST directly with high precision.

  - Advanced Classifiers: Can use machine learning models (e.g., CHORD, HRDetect) that look at complex mutational signatures (like deletions with microhomology) rather than just the simple 3-scar count.

[!NOTE] Toy Example: WGS Probability Score (It’s NOT a Fraction) Unlike the “Count” method (where you just add 1+1+1), WGS classifiers like HRDetect or CHORD use a Weighted Model (Logistic Regression).

- It is not: NumeratorDenominator

- It is: A recipe where different ingredients have different “flavor strengths” (weights).

The Recipe (HRDetect Example): 1. Count the Ingredients (Features): * How many deletions have “Microhomology”? (Strong flavor of HRD) → Count: 50 * How many structural rearrangements look like “Signature 3”? → Count: 20 * What is the standard HRD score (LOH+TAI+LST)? → Count: 42 2. Apply Weights (The Math): * Sum=(50×WeightA)+(20×WeightB)+(42×WeightC)+… 3. Convert to Probability (0 to 1): * The sum is pushed through a function (Sigmoid) that squashes it between 0% and 100%. * Score 0.98: “We are 98% sure this is HRD.” * Score 0.12: “We are 12% sure this is HRD.”

Why WGS? Only WGS can accurately see “Microhomology” (tiny 2-base overlaps at deletion sites) which is the strongest proof of HRD, making this probability score much more accurate than just counting LOH.

## 2. Limitations by Platform

| Platform | Limitations | Impact on HRD Score |
| --- | --- | --- |
| Panel | Gaps/Resolution: “Connecting the dots” can miss small events or misjudge breakpoint locations if they fall between SNP probes.Design Requirement: Cannot use a standard gene-only panel; requires a specific high-density SNP backbone (20k-50k+ SNPs). | Estimation Error: Accuracy depends entirely on SNP density. Low-density backbones lead to false negatives or inaccurate LST counts. |
| WES | Missing Data: Exons are clustered; vast non-coding regions are empty, making structural variant detection (LST) difficult.Noise: PCR amplification bias can make allele imbalance signals (necessary for LOH/TAI) broader and harder to call.Signatures: Cannot detect specific “rearrangement signatures” (RS3, RS5) used by advanced algorithms like HRDetect. | Reduced Sensitivity: Often has lower correlation with “gold standard” array/WGS data for LST and TAI components. Higher false positive rate for CNVs. |
| WGS | Cost & Data: Significantly more expensive ($600-$1000+) and generates massive data (100GB+), requiring substantial compute.Purity Dependence: Like all methods, relies on tumor purity; low purity (<20-30%) makes it hard to distinguish somatic variants from germline noise. | Gold Standard: Provides the most accurate, gap-free map of genomic scars. Limitations are primarily logistical/financial, not technical accuracy. |

## 3. Standard Cutoffs

There is no universal consensus, but specific assays have regulatory-approved cutoffs.

| Assay / Context | Cutoff for HRD Positive | Notes |
| --- | --- | --- |
| Myriad myChoice CDx | ≥ 42 | The FDA-approved “Gold Standard” for ovarian cancer (PAOLA-1, PRIMA trials). Includes BRCA mutation as HRD+ regardless of score. |
| FoundationOne CDx | ≥ 16 (LOH only) | Older metric (LOH-high). Note: Foundation now often reports genomic loss of heterozygosity (gLOH) percentage. |
| AmoyDx HRD Complete | ≥ 50 | Proprietary cutoff used in their specific algorithm (GSS - Genomic Scar Score). |
| Ovarian Cancer Research | ≥ 33 | Some newer academic studies (e.g., VELIA trial) suggest a lower cutoff (33) may capture more responders than 42. |
| Non-Small Cell Lung Cancer | ≥ 31 | Suggested in some specific NSCLC studies. |
| WGS (CHORD Classifier) | Probability Score | Advanced WGS classifiers (like CHORD) often output a probability (e.g., >0.5) rather than a simple sum count of 42. |

Key Takeaway: The “Score of 42” is the most widely recognized clinical benchmark, specifically derived from the Myriad algorithm. Other platforms often calibrate their scores to match this “Myriad-42” scale or establish their own independent clinical validity studies.

## Appendix: How Microhomology Scars Are Made

A plain-language summary of how the HRD mechanism creates specific “scars” at the DNA level.

1. The Trigger (The Break) Imagine DNA is the sentence: “The quick brown fox jumps over the lazy dog.” Suddenly, there is a Double-Strand Break in the middle. * Broken DNA: The quick brown fox jumps over the lazy dog.

2. The Context (The Match) The error-prone repair crew (MMEJ) looks at the raw ends. It mistakenly finds a matching pattern (Microhomology) that exists on both sides of the break. In this sentence, the pattern “he” appears twice: * Left Side: The quick brown fox jumps * Right Side: over the lazy dog.

3. The Repair (The “Sloppy Glue”) The crew thinks, “Aha! I see ‘he’ on the left and ‘he’ on the right. These must be the connection points!” It pulls the two “he”s together to merge them.

4. The Result (The Scar) To make those two distant “he”s overlap, the crew deletes everything in between. * Combined: The lazy dog. * The Scar (Deletion): The entire phrase ” quick brown fox jumps over t” was deleted.

Biological Reality: This is exactly what happens in the genome. The cell finds a short matching sequence (like “GTAC”) a few bases apart, pastes them together, and deletes the DNA chunk in the middle. This specific deletion with matching edges is the permanent scar of HRD.