# Report 3: Prescribing Genomic Drugs Without Companion Diagnostics

This report explains the regulatory and clinical mechanisms that allow drugs with genomic indications to be prescribed safely when a specific FDA-approved Companion Diagnostic (CDx) is not used.

## 1. The Challenge (CDx vs. Clinical Reality)

Many targeted therapies (e.g., Olaparib for BRCA, Osimertinib for EGFR) are FDA-approved with a specific “Companion Diagnostic” listed on their label. * Strict Rule: Technically, the drug label says “for patients identified by [Specific Test].” * Reality: Hospitals often use their own internal tests (LDTs) or broad panels (CGP) instead of sending samples to different vendors for every single drug.

## 2. Current Mechanism: Laboratory Developed Tests (LDTs)

### How It Works Safely “Off-Label”

Since the FDA historically practiced “Enforcement Discretion”, laboratories (CLIA-certified) could build their own tests (LDTs) to detect the same biomarker as the FDA-approved CDx.

- Prescription Pathway:

  - Doctor Orders CGP: The oncologist orders a comprehensive panel (e.g., “Onco-Panel 500”) from the hospital lab or a vendor (like Tempus/Foundation).

  - Lab Reports Biomarker: The report says “Positive for EGFR L858R mutation.”

  - Doctor Prescribes: The doctor uses this result to prescribe the drug.

  - Justification: The doctor determines that the biomarker is present, even if the specific brand of test wasn’t used. This is considered the “practice of medicine” (choosing the tool to diagnose), which FDA does not regulate.

### Is It Safe? (Orthogonal Confirmation)

- Validation: Under CLIA regulations, the lab must validate that their LDT is as accurate as the Gold Standard (often the FDA-approved CDx).

- Orthogonal Confirmation:

  - Germline: Positive results from rapid tests or DTC often require confirmatory testing (Sanger or clinical grade NGS).

  - Somatic (Tumor): Confirmation is not always required if the primary test is a validated clinical-grade NGS assay. However, for low-quality samples or borderline results (low VAF), a second method (PCR or Sanger) is standard safety protocol.

  - FDA Guideline: For certain De Novo authorizations, FDA requires >99% agreement with an orthogonal method.

## 3. Regulatory Shifts (FDA vs. LDTs)

- Recent Change (2024): The FDA issued a Final Rule to end enforcement discretion, aiming to regulate LDTs as medical devices (Class III), arguing that unreliable LDTs put patients at risk.

- Status (2025): This rule was vacated by a U.S. District Court.

  - Current State: LDTs remain primarily under CLIA oversight, not FDA device regulation. This maintains the “status quo” where validated LDTs are widely used substitutes for CDx.

## 4. The “Minimal Performance Criteria” Future

To solve the rigid “One Drug - One Test” problem, the FDA Oncology Center of Excellence is exploring Minimal Performance Criteria. * Concept: Instead of approving a drug with “FoundationOne CDx” exclusively, the FDA would approve it for “Any test that can detect EGFR mutations with >99% sensitivity and 5% LoD.” * Benefit: This would officially sanction the use of valid LDTs and other commercial panels without requiring off-label workarounds.

## 5. Summary Answers

- How are they prescribed safely? By relying on CLIA-certified laboratories that have rigorously validated their LDTs against known standards.

- Can LDT CGP product be used? Yes. This is the standard of care in most major academic cancer centers.

- Do you need to do PCR? Not necessarily. If the LDT CGP is validated for that variant type (SNV/Indel) and the result is clear (high quality), reflex PCR is not required. PCR is used primarily as a troubleshooter for ambiguous cases or technically difficult variants.